## Table4_Comparison
Date | EC System (μS/cm) | EC Reference (μS/cm) | EC Error (%) | pH System | pH Reference | pH Error (%) | DO System (mg/L) | DO Reference (mg/L) | DO Error (%) | Salinity System (ppt) | Salinity Reference (ppt) | Salinity Error (%) | Ammonia System (ppm) | Ammonia Reference (ppm) | Ammonia Error (%) | TDS System (ppm) | TDS Reference (ppm) | TDS Error (%) | Temperature System (°C) | Temperature Reference (°C) | Temperature Error (%)
20/2/2568 | 2115 | 2160 | 2.13 | 8.3 | 8.4 | 1.2 | 5.88 | 5.59 | 4.93 | 30.29 | 33 | 8.95 | 0.074 | 50 | 32.89 | 600 | 690 | 15 | 26.9 | 25 | 7.06
21/2/2568 | 2115 | 2150 | 1.65 | 8 | 8.2 | 2.5 | 5.78 | 5.39 | 6.75 | 31.43 | 33 | 5 | 0.072 | 58 | 20.33 | 600 | 690 | 15 | 29.5 | 26.7 | 9.49
22/2/2568 | 2115 | 2120 | 0.24 | 7.9 | 8.1 | 2.53 | 5.88 | 5.83 | 0.85 | 31.48 | 30 | 4.7 | 0.074 | 56 | 25.18 | 600 | 690 | 15 | 28.7 | 26.4 | 8.01
23/2/2568 | 2115 | 2110 | 0.24 | 8 | 8.3 | 3.75 | 5.02 | 5.44 | 8.37 | 31.59 | 30 | 5.03 | 0.078 | 53 | 32.79 | 600 | 690 | 15 | 29.4 | 25.8 | 12.24
24/2/2568 | 2115 | 2120 | 0.24 | 8 | 8.2 | 2.5 | 5.45 | 5.19 | 4.77 | 32.05 | 30 | 6.4 | 0.068 | 55 | 19.26 | 600 | 690 | 15 | 26.7 | 26.1 | 2.25
25/2/2568 | 2115 | 2100 | 0.71 | 7.7 | 8.4 | 9.09 | 5.48 | 5.57 | 1.64 | 31.43 | 30 | 4.55 | 0.068 | 55 | 20.17 | 600 | 690 | 15 | 25.8 | 25.2 | 2.33
26/2/2568 | 2115 | 2190 | 3.55 | 7.8 | 8.4 | 7.69 | 5.24 | 5.59 | 6.68 | 31.52 | 30 | 4.82 | 0.076 | 56 | 26.74 | 600 | 690 | 15 | 24.9 | 24.7 | 0.8
27/2/2568 | 2115 | 2150 | 1.65 | 7.9 | 8.2 | 3.8 | 5.02 | 5.85 | 16.53 | 30.74 | 30 | 2.41 | 0.078 | 59 | 25.13 | 600 | 690 | 15 | 25.3 | 26.5 | 4.74
28/2/2568 | 2115 | 2111 | 0.19 | 8.3 | 8.4 | 1.2 | 5.77 | 5.45 | 5.55 | 32.01 | 30 | 6.28 | 0.074 | 54 | 27.86 | 600 | 690 | 15 | 26.8 | 26.37 | 1.6
29/2/2568 | 2115 | 2111 | 0.19 | 8.3 | 8.3 | 0 | 5.78 | 5.61 | 2.94 | 30.62 | 30 | 2.02 | 0.074 | 55 | 26.18 | 600 | 690 | 15 | 25.7 | 26.03 | 1.28
1/3/2568 | 2115 | 2140 | 1.18 | 8 | 8.3 | 3.75 | 5.79 | 5.37 | 7.25 | 30.68 | 30 | 2.22 | 0.079 | 56 | 29.24 | 600 | 690 | 15 | 27.8 | 26.14 | 5.97
2/3/2568 | 2115 | 2160 | 2.13 | 8 | 8.3 | 3.75 | 5.22 | 5.46 | 4.6 | 31.59 | 30 | 5.03 | 0.074 | 47 | 36.82 | 600 | 690 | 15 | 26.9 | 25.58 | 4.91
3/3/2568 | 2115 | 2189 | 3.5 | 7.9 | 8.4 | 6.33 | 5.02 | 5.52 | 9.96 | 31.52 | 30 | 4.82 | 0.074 | 53 | 28.92 | 600 | 690 | 15 | 27.9 | 26.25 | 5.91
4/3/2568 | 2115 | 2130 | 0.71 | 8.3 | 8.4 | 1.2 | 5.48 | 5.32 | 2.92 | 30.85 | 30 | 2.76 | 0.076 | 43 | 43.91 | 600 | 690 | 15 | 29.5 | 26.28 | 10.92
5/3/2568 | 2115 | 2109 | 0.28 | 7.7 | 8.3 | 7.79 | 5.64 | 5.39 | 4.43 | 31.56 | 30 | 4.94 | 0.078 | 45 | 42.46 | 600 | 690 | 15 | 27.7 | 25.86 | 6.64
6/3/2568 | 2115 | 2158 | 2.03 | 7.8 | 8.3 | 6.41 | 5.01 | 5.59 | 11.58 | 30.2 | 30 | 0.66 | 0.067 | 56 | 17.25 | 600 | 690 | 15 | 29.1 | 26.04 | 10.52
7/3/2568 | 2115 | 2183 | 3.22 | 7.9 | 8.3 | 5.06 | 5.61 | 5.57 | 0.71 | 29.4 | 30 | 2.04 | 0.068 | 58 | 14.86 | 600 | 690 | 15 | 26.6 | 26.31 | 1.09
8/3/2568 | 2115 | 2189 | 3.5 | 8.3 | 8.2 | 1.2 | 5.88 | 5.38 | 8.5 | 29.99 | 30 | 0.03 | 0.068 | 56 | 18.72 | 600 | 690 | 15 | 25.1 | 25.84 | 2.95
9/3/2568 | 2115 | 2190 | 3.55 | 7.8 | 8.4 | 7.69 | 5.09 | 5.33 | 4.72 | 31.52 | 30 | 4.82 | 0.074 | 42 | 43.89 | 600 | 690 | 15 | 28.8 | 25.7 | 10.76
10/3/2568 | 2115 | 2149 | 1.61 | 7.9 | 8.3 | 5.06 | 5.78 | 5.43 | 6.06 | 31.48 | 30 | 4.7 | 0.076 | 51 | 33.28 | 600 | 690 | 15 | 29.1 | 26.6 | 8.59
11/3/2568 | 2115 | 2175 | 2.84 | 7.7 | 8.2 | 6.49 | 5.22 | 5.38 | 3.07 | 30.29 | 30 | 0.96 | 0.074 | 46 | 38.16 | 600 | 690 | 15 | 29.6 | 26.14 | 11.69
12/3/2568 | 2115 | 2150 | 1.65 | 8.1 | 8.3 | 2.47 | 5.69 | 5.44 | 4.39 | 30.98 | 30 | 3.16 | 0.074 | 48 | 35.83 | 600 | 690 | 15 | 27.7 | 25.49 | 7.98
13/3/2568 | 2120 | 2111 | 0.42 | 7.8 | 8.3 | 6.41 | 5.64 | 5.45 | 3.37 | 31.52 | 30 | 4.82 | 0.074 | 57 | 21.7 | 600 | 690 | 15 | 26.9 | 25.4 | 5.58
15/3/2568 | 2120 | 2127 | 0.33 | 8 | 8.3 | 3.75 | 5.45 | 5.29 | 2.94 | 31.48 | 30 | 4.7 | 0.076 | 57 | 25.43 | 600 | 690 | 15 | 28.6 | 26.35 | 7.87
16/3/2568 | 2120 | 2138 | 0.85 | 8.2 | 8.2 | 0 | 5.16 | 5.63 | 9.11 | 31.59 | 30 | 5.03 | 0.074 | 56 | 28.5 | 600 | 690 | 15 | 29.1 | 25.63 | 11.92
17/3/2568 | 2120 | 2163 | 2.03 | 8 | 8.3 | 3.75 | 5.4 | 5.38 | 0.37 | 32.14 | 30 | 6.66 | 0.074 | 55 | 26.18 | 600 | 690 | 15 | 27.1 | 25.92 | 4.35
18/3/2568 | 2120 | 2107 | 0.61 | 8 | 8.3 | 3.75 | 5.18 | 5.4 | 4.25 | 31.53 | 30 | 4.85 | 0.079 | 49 | 38.08 | 600 | 690 | 15 | 29.1 | 25.4 | 12.71
19/3/2568 | 2120 | 2108 | 0.57 | 7.8 | 8.3 | 6.41 | 5.88 | 5.6 | 4.76 | 32.56 | 30 | 7.86 | 0.077 | 55 | 28.93 | 600 | 690 | 15 | 28.6 | 25.46 | 10.98
20/3/2568 | 2120 | 2118 | 0.09 | 8 | 8.3 | 3.75 | 5.84 | 5.55 | 4.97 | 32.29 | 30 | 7.09 | 0.074 | 56 | 24.27 | 600 | 690 | 15 | 24.1 | 25.49 | 5.77
21/3/2568 | 2120 | 2176 | 2.64 | 7.8 | 8.2 | 5.13 | 6.04 | 5.36 | 11.26 | 31.81 | 30 | 5.69 | 0.07 | 45 | 36.38 | 600 | 690 | 15 | 24.8 | 26.56 | 7.1
22/3/2568 | 2120 | 2133 | 0.61 | 7.8 | 8.2 | 5.13 | 5.91 | 5.49 | 7.11 | 32.56 | 30 | 7.86 | 0.073 | 47 | 35.7 | 600 | 690 | 15 | 24.1 | 26.58 | 10.29
23/3/2568 | 2120 | 2136 | 0.75 | 8 | 8.3 | 3.75 | 5.87 | 5.35 | 8.86 | 31.48 | 30 | 4.7 | 0.068 | 49 | 28.07 | 600 | 690 | 15 | 26.9 | 25.42 | 5.5